## Legal Statements
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
Comment | BioFire Diagnostics, LLC will ensure the accuracy of the enclosed LOINC® codes upon each bi-annual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made.
RFIT-PRT-0902-02 Release Notes | This is the second release of LOINC® codes for the FilmArray® Blood Culture Identification (BCID) Panel v2.0. Changes include the following: • 85786-2: (mecA) was changed to mecA in the LOINC long Name and Component

## Company
Publisher | BioFire Diagnostics, LLC
LOINC Version | LOINC v2.64
LOINC Copyright | This material contains content from LOINC® (http://loinc.org). The LOINC® codes, LOINC® Table (regardless of format), LOINC® Table Core, LOINC® Release Notes, LOINC® Changes File, and LOINC® Users' Guide are copyright © 1995-2018, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee. All rights reserved.
LOCALIZATION | en-US

## BCID Panel v2.0 LOINC Table
Vendor LOINC Publication
Vendor Equipment Mapping
IVD Test Mapping
[5 empty] | IVD Test Result | [5 empty] | LOINC
Publication Version ID | Manufacturer | Model | Equipment UID | Equipment UID Type | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Vendor Comment | LOINC Code | LOINC long Name | Component | Property | Time | System | Scale | Method
1.0 | BioFire Diagnostics | FilmArray |  |  |  | Blood Culture Identification Panel | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85762-3 | Blood pathogens panel by NAA with non-probe detection in Positive blood culture | Blood pathogens panel | - | Pt | Bld.pos growth | - | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_ACIBAU | Acinetobacter baumannii | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85770-6 | Acinetobacter baumannii DNA [Presence] by NAA with non-probe detection in Positive blood culture | Acinetobacter baumannii DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_CANALB | Candida albicans | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85781-3 | Candida albicans DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida albicans DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_CANGLA | Candida glabrata | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85782-1 | Candida glabrata DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida glabrata DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_CANKRU | Candida krusei | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85783-9 | Candida krusei DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida krusei DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_CANPAR | Candida parapsilosis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85784-7 | Candida parapsilosis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida parapsilosis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_CANTRO | Candida tropicalis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85785-4 | Candida tropicalis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida tropicalis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_ENTCLO_PX | Enterobacter cloacae complex | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85772-2 | Enterobacter cloacae complex DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacter cloacae complex DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_ENTBAC | Enterobacteriaceae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85771-4 | Enterobacteriaceae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacteriaceae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_ENTEROC | Enterococcus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85775-5 | Enterococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_ESCCOL | Escherichia coli | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85773-0 | Escherichia coli DNA [Presence] by NAA with non-probe detection in Positive blood culture | Escherichia coli DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_HAEINF | Haemophilus influenzae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85778-9 | Haemophilus influenzae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Haemophilus influenzae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_KLEOXY | Klebsiella oxytoca | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85774-8 | Klebsiella oxytoca DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella oxytoca DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_KLPNSP | Klebsiella pneumoniae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85761-5 | Klebsiella pneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella pneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_KPC | KPC (carbapenem-resistance gene) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85788-8 | Carbapenem resistance blaKPC gene [Presence] by NAA with non-probe detection in Positive blood culture | Bacterial carbapenem resistance blaKPC gene | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_LISMOC | Listeria monocytogenes | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85763-1 | Listeria monocytogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Listeria monocytogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_MEC_A | mecA (methicillin-resistance gene) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85786-2 | Methicillin resistance mecA gene [Presence] by NAA with non-probe detection in Positive blood culture | Bacterial methicillin resistance mecA gene | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_NEIMEN | Neisseria meningitidis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85779-7 | Neisseria meningitidis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Neisseria meningitidis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_PROTEUS | Proteus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85776-3 | Proteus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Proteus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_PSEAER | Pseudomonas aeruginosa | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85780-5 | Pseudomonas aeruginosa DNA [Presence] by NAA with non-probe detection in Positive blood culture | Pseudomonas aeruginosa DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_SERMAR | Serratia marcescens | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85777-1 | Serratia marcescens DNA [Presence] by NAA with non-probe detection in Positive blood culture | Serratia marcescens DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STAPHYLOC | Staphylococcus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85764-9 | Staphylococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STAAUR | Staphylococcus aureus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85765-6 | Staphylococcus aureus DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus aureus DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STREPTOC | Streptococcus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85766-4 | Streptococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STRAGA_GB | Streptococcus agalactiae (Group B) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85767-2 | Streptococcus agalactiae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus agalactiae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STRPYO_GA | Streptococcus pyogenes (Group A) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85769-8 | Streptococcus pyogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pyogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_STRPNE | Streptococus pneumoniae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85768-0 | Streptococcus pneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | FilmArray |  |  | PCR_VAN_AB | vanA/B (vancomycin-resistance gene) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85787-0 | Vancomycin resistance vanA + vanB genes [Presence] by NAA with non-probe detection in Positive blood culture | Bacterial vancomycin resistance vanA+vanB genes | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar