## Legal Statements
Legal Statement | The LOINC® codes provided are potentially representative of, but not limited to, tests performed using the BioFire® FilmArray® Panels, and are provided for illustrative purposes only. They are available from public, third-party sources. Individual laboratories are responsible for exercising independent clinical judgment in selecting the codes that most accurately reflect the procedures and tests performed. The information provided does not constitute recommendations on determining codes. LOINC® codes are complex and may be subject to change. All decisions regarding coding must be made by the laboratory or healthcare provider and should be made by referring to the current, complete, and authoritative LOINC® publication. This document makes no representations or warranties as to selecting codes for procedures, product coverage, code accuracy, or compliance with any other coding systems or prerequisites. This information cannot cover all situations or all third-party rules or policies, nor can use of the information guarantee accuracy of the testing performed.
Comment | BioFire Diagnostics, LLC will ensure the accuracy of the enclosed LOINC® codes upon each biannual LOINC® version release, and will keep internal record of these reviews. A new version of this spreadsheet will only be released if changes to the codes have been made.
BFR0001-2374-02 Release Notes | This is the second release of LOINC® codes for the BioFire® Blood Culture Identification 2 (BCID2) Panel v1.0. This release adds LOINC® codification of the Acinetobacter calcoaceticus-baumannii complex target, which was not included in the initial release. It also updates the copyright statement to reflect the current year of 2021.

## Company
Publisher | BioFire Diagnostics, LLC
LOINC Version | LOINC v2.70
LOINC Copyright | "This material contains content from LOINC (http://loinc.org). LOINC is copyright © 1995-2021, Regenstrief Institute, Inc. and the Logical Observation Identifiers Names and Codes (LOINC) Committee and is available at no cost under the license at http://loinc.org/license. LOINC® is a registered United States trademark of Regenstrief Institute, Inc."
LOCALIZATION | en-US

## BCID2 Panel v1.0 LOINC Table
Vendor LOINC Publication
Vendor Equipment Mapping
IVD Test Mapping
[5 empty] | IVD Test Result | [5 empty] | LOINC
Publication Version ID | Manufacturer | Model | Equipment UID | Equipment UID Type | Vendor Analyte Code | Vendor Analyte Name | Vendor Specimen Description | Vendor Result Description | Vendor Reference ID | Vendor Comment | LOINC Code | LOINC long Name | Component | Property | Time | System | Scale | Method
1.0 | BioFire Diagnostics | BioFire |  |  |  | Blood Culture Identification 2 Panel | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal |  |  | 85762-3 | Blood pathogens panel by NAA with non-probe detection in Positive blood culture | Blood pathogens panel | - | Pt | Bld.pos growth | - | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06001 | Acinetobacter calcoaceticus-baumannii complex | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 97050-9 | Acinetobacter calcoaceticus-baumannii complex DNA [Presence] by NAA with non-probe detection in Positive blood culture | Acinetobacter calcoaceticus-baumannii complex DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06002 | Bacteroides fragilis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96301-7 | Bacteroides fragilis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Bacteroides fragilis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07001 | Candida albicans | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85781-3 | Candida albicans DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida albicans DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07002 | Candida auris | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96302-5 | Candida auris DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida auris DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07003 | Candida glabrata | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85782-1 | Candida glabrata DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida glabrata DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07004 | Candida krusei | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85783-9 | Candida krusei DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida krusei DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07005 | Candida parapsilosis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85784-7 | Candida parapsilosis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida parapsilosis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07006 | Candida tropicalis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85785-4 | Candida tropicalis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Candida tropicalis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x07007 | Cryptococcus neoformans/gattii | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96303-3 | Cryptococcus gattii+neoformans DNA [Presence] by NAA with non-probe detection in Positive blood culture | Cryptococcus gattii+neoformans DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08001 | CTX-M | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 88250-6 | Cephalosporin resistance blaCTX-M gene [Presence] by Molecular method | Bacterial cephalosporin resistance blaCTX-M gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06004 | Enterobacter cloacae complex | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85772-2 | Enterobacter cloacae complex DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacter cloacae complex DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06003 | Enterobacterales | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96306-6 | Enterobacterales DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterobacterales DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05001 | Enterococcus faecalis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96304-1 | Enterococcus faecalis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterococcus faecalis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05002 | Enterococcus faecium | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96305-8 | Enterococcus faecium DNA [Presence] by NAA with non-probe detection in Positive blood culture | Enterococcus faecium DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06005 | Escherichia coli | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85773-0 | Escherichia coli DNA [Presence] by NAA with non-probe detection in Positive blood culture | Escherichia coli DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06012 | Haemophilus influenzae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85778-9 | Haemophilus influenzae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Haemophilus influenzae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08002 | IMP | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 85498-4 | Carbapenem resistance blaIMP gene [Presence] by Molecular method | Bacterial carbapenem resistance blaIMP gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06006 | Klebsiella aerogenes | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96308-2 | Klebsiella aerogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella aerogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06007 | Klebsiella oxytoca | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85774-8 | Klebsiella oxytoca DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella oxytoca DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06008 | Klebsiella pneumoniae group | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96307-4 | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Klebsiella pneumoniae+Klebsiella variicola+Klebsiella quasipneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08003 | KPC | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 49617-4 | Carbapenem resistance blaKPC gene [Presence] by Molecular method | Bacterial carbapenem resistance blaKPC gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05003 | Listeria monocytogenes | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85763-1 | Listeria monocytogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Listeria monocytogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08004 | mcr-1 | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  |  | 86221-9 | Colistin resistance mcr-1 gene [Presence] by Molecular method | Bacterial colistin resistance mcr-1 gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08005 | mecA/C | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 92968-7 | Methicillin resistance mecA+mecC genes [Presence] in Isolate or Specimen by Molecular genetics method | Bacterial methicillin resistance mecA+mecC genes | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08006 | mecA/C and MREJ (MRSA) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected, N/A |  |  | 96309-0 | Methicillin resistance mecA+mecC genes+SCCmec+OrfX junction [Presence] by Molecular method | Bacterial methicillin resistance mecA+mecC genes+SCCmec+OrfX junction | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08007 | NDM | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 73982-1 | Carbapenem resistance blaNDM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaNDM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06013 | Neisseria meningitidis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85779-7 | Neisseria meningitidis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Neisseria meningitidis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08008 | OXA-48-like | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 85827-4 | Carbapenem resistance bla OXA-48-like gene [Presence] by Molecular method | Bacterial carbapenem resistance blaOXA-48-like gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06009 | Proteus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85776-3 | Proteus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Proteus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06014 | Pseudomonas aeruginosa | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85780-5 | Pseudomonas aeruginosa DNA [Presence] by NAA with non-probe detection in Positive blood culture | Pseudomonas aeruginosa DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06010 | Salmonella spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96313-2 | Salmonella sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Salmonella sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06011 | Serratia marcescens | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85777-1 | Serratia marcescens DNA [Presence] by NAA with non-probe detection in Positive blood culture | Serratia marcescens DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05005 | Staphylococcus aureus | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85765-6 | Staphylococcus aureus DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus aureus DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05006 | Staphylococcus epidermidis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96310-8 | Staphylococcus epidermidis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus epidermidis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05007 | Staphylococcus lugdunensis | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96311-6 | Staphylococcus lugdunensis DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus lugdunensis DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05004 | Staphylococcus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85764-9 | Staphylococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Staphylococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x06015 | Stenotrophomonas maltophilia | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal Not Detected, Detected |  |  | 96312-4 | Stenotrophomonas maltophilia DNA [Presence] by NAA with non-probe detection in Positive blood culture | Stenotrophomonas maltophilia DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05009 | Streptococcus agalactiae (Group B) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85767-2 | Streptococcus agalactiae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus agalactiae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05011 | Streptococcus pyogenes (Group A) | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85769-8 | Streptococcus pyogenes DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pyogenes DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05008 | Streptococcus spp. | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85766-4 | Streptococcus sp DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus sp DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x05010 | Streptococus pneumoniae | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected |  |  | 85768-0 | Streptococcus pneumoniae DNA [Presence] by NAA with non-probe detection in Positive blood culture | Streptococcus pneumoniae DNA | PrThr | Pt | Bld.pos growth | Ord | Non-probe.amp.tar
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08009 | vanA/B | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Detected, Not Detected, N/A |  |  | 62261-3 | Vancomycin resistance vanA +​ vanB genes [Presence] by Molecular method | Bacterial vancomycin resistance vanA+vanB genes | PrThr | Pt | Isolate/Specimen | Ord | Molgen
1.0 | BioFire Diagnostics | BioFire |  |  | BC2x08010 | VIM | Blood culture samples identified as positive by a continuous monitoring blood culture system | Ordinal - Not Detected, Detected, N/A |  |  | 85501-5 | Carbapenem resistance blaVIM gene [Presence] by Molecular method | Bacterial carbapenem resistance blaVIM gene | PrThr | Pt | Isolate/Specimen | Ord | Molgen